EMCH 290-001-HW#4                  Due at 11:40 on Tuesday, October 31, 2023

Points Possible: 100

- Question 1(14 Points)

Refrigerant 134a enters an insulated diffuser as a saturated vapor at 24oC with a velocity of 245 m/s. The inlet area is 9 cm2.  At the exit, the pressure is 16 bar, and the velocity is negligible. The diffuser operates at steady state and potential energy effects can be neglected.

- Determine the mass flow rate, in kg/s.

- Determine the exit temperature, in oC.

At steady state, the mass flow rate of Refrigerant 134a through the nozzle is determined by:

m=m1=A1V1v1

where the specific volume is found using the Table A-10 for R-134a, v1=vg=0.0317m3kg:

m1=A1V1v1=9*11002*2450.0317=6.95kgs

0=Qcv-Wcv+mh1-h2+V12-V222+gz1-z2

0=h1-h2+V12-V222

Referring to Table A-10 for enthalpy,

h2=V12-V222+h1→2452-02*11000+260.45=290.4625kJkg

Referring to Table A-12 @ 16 bar and interpolating between 80°C and 90°C:

T2=90-291.39-290.4625291.39-280.7890-80=89.12°C

- Question 2(14 Points)

Steam enters a turbine operating at steady state at 440oC and 30 bar and leaves as a saturated vapor at 0.08 bar. The turbine develops 9000 kW, and heat transfer from the turbine to the surroundings occurs at a rate of 590 kW. Neglect kinetic and potential energy changes from inlet to exit.

- Determine the exit temperature, in oC.

- Determine the volumetric flow rate of the steam at the inlet, in m3/s.

Referring to Table A-3 @ 0.08 bar,

T2=Tsat =41.51∘C

(AV)1=mv1

0=Qcv-Wcv+mh1-h2+V12-V222+gz1-z2

From Tables A-4 & A-3, respectively: 
State 1: T1=450∘C,p1=30 bar (superheated) →h1=3321.5kJkg,v1=0.1062m3kg
State 2:x2=100% (sat. vapor),  p2=0.08 bar→ h2=2577kJkg

Neglecting changes in kinetic and potential energy, and solving for the mass flow rate:

m=Qcv-Wcvh2-h1=-590-90002577-3321.5=12.88 kgs

(AV)1=mv1=12.88*0.1062 =1.368 m3/s

- Question 3(14 Points)

Carbon dioxide gas is compressed at steady state from a pressure of 1.5 bar and a temperature of 0oC to a pressure of 3.5 bar and a temperature of 40oC. The gas enters the compressor with a velocity of 9 m/s and exits with a velocity of 25 m/s. The mass flow rate is 1360 kg/hr. The magnitude of the heat transfer rate from the compressor to its surroundings is 5% of the compressor power input. Use the ideal gas model with cp = 0.88 kJ/kg·K and neglect potential energy effects.

- Determine the flow area at the inlet, in m2.

- Determine the compressor power, in kW.

Referring to Table A-1 for Molar Mass of CO2,

v1=RT1p1=831444.01*273.151.5*105=0.344m3kg

A1=mv1V1=1360*1hr3600s*0.3449=0.01444m2

0=Win -Qout +mh1-h2+V12-V222+gz1-z2

Win=m1-0.05h2-h1+V22-V122=m0.95cpT2-T1+V22-V122→

Win=136036000.950.88*40-0+252-922*11000=14.1 kW

- Question 4(14 Points)

An oil pump operating at steady state delivers oil at a rate of 6 kg/s through a 2.5-cm-diameter exit pipe. The oil, which can be modeled as incompressible, has a density of 1360 kg/m3 and experiences a pressure rise from inlet to exit of 2.75 bar. There is no significant elevation difference between inlet and exit, and the inlet kinetic energy is negligible. Heat transfer between the pump and its surroundings is negligible, and there is no significant change in temperature as the oil passes through the pump.

- Determine the velocity of the oil at the exit of the pump, in m/s.

- Determine the power required for the pump, in W.

(AV)2=A2V2=mρoil

V2=mA2ρoil=4mπD22ρoil=4*6π*0.0252*1360=9 m/s

Qcv+Wcv=mh1-h2+V12-V222+gz1-z2

The enthalpy change between 2 given states of an incompressible substance is:

h1-h2=cT1-T2+vp1-p2=1ρoilp1-p2

Win=mh2-h1+V222=mp2-p1ρoil+V222

Win=6kgs2.75*105Pa1360kgm3+922*11000kJkg=1213.5 W

- Question 5(14 Points)

During cardiac surgery, a heart-lung machine achieves extracorporeal circulation of the patient’s blood using a pump operating at steady state. Blood enters the well-insulated pump at a rate of 5 liters/min. The temperature change of the blood is negligible as it flows through the pump. The pump requires 20 W of power input. Modeling the blood as an incompressible substance with negligible kinetic and potential energy effects, determine the pressure change, in kPa, of the blood as it flows through the pump.

- Determine the pressure change in kPa.

The energy rate balance for the one-inlet, one-exit control volume at steady state

0=Qcv-Wcv+mh1-h2+1/2 V12-V22+gz1-z2

simplifies to

Wcv=mh1-h2

Since the blood temperature doesn't change:

h2-h1=T1T2 c(T)dT+vp2-p1=vp2-p1

Substituting into the energy rate balance

0=-WcV+mvp1-p2

From the mass rate balance, m2=m1≡m, and m=AVv. Since blood is modeled as incompressible, v2=v1. Thus, volumetric flow rate, (AV), is constant. Substituting mv=AV gives

0=-Wcv+(AV)p1-p2

Since power is, Wcv=-20 W, the pressure change is

p2-p1=-WcV(AV)=-(-20 W)5Lmin*1 L10-3 m3*1Js1 W*1 N⋅m1 J*1kPa1000Nm2*60 s1 min

p2-p1=240kPa

- Question 6(14 Points)

Ammonia enters the expansion valve of a refrigeration system at a pressure of 10 bar and a temperature of 24oC and exits at 1.0 bar. The refrigerant undergoes a throttling process. Determine the temperature, in oC, and the quality of the refrigerant at the exit of the expansion valve.

- Determine the temperature of the refrigerant at the exit, in oC.

- Determine the quality of the refrigerant at the exit of the expansion valve.

The energy rate balance on the single inlet, single outlet control volume at steady state is:

Qcv+Wcv=mh1-h2+V12-V222+gz1-z2

Neglecting work and heat transfer across the control volume, and kinetic and potential energy effects:

0=mh1-h2

Solving for h2 :

h2=h1≈hf,24∘C=293.45 kJ/kg

This result is consistent with the definition for a throttling process.
Referring to Table A-14, with p2=1.0 bar, the temperature at the exit is equal to the saturation temperature:

T2=-33.6∘C

The quality of the ammonia at the exit is:
x2=h2-hf,1.0barhg,1.0bar-hf,1.0bar=293.45kJkg-28.18kJkg1398.41kJkg-28.18kJkg=0.194

- Question 7(16 Points)

The figure shows a turbine operating at a steady state that provides power to an air compressor and an electric generator. Air enters the turbine with a volumetric flow rate of 1.3 m3/s at 527oC, 10.0 bar and exits the turbine at 107oC, 1 bar. The turbine provides power of 900 kW to the compressor and 1400 kW to the generator. Air can be modeled as an ideal gas and kinetic and potential energy changes are negligible.

- Determine the mass flow rate of the air, in kg/s.

- For the turbine as the control volume, determine the rate of heat transfer, in kW.

The mass flow rate at steady state is:

m=m1=(AV)1v1

From the ideal gas equation of state:

v1=RT1p1=8.31428.97kJkg⋅K1kN⋅m1 kJ(527+273 K)(10bar)100kN/m21bar=0.2296 m3/kg

Solving for the mass flow rate:

m=(AV)1v1=1.3 m3/s0.2296 m3/kgm=5.66 kg/s

The energy balance for a single inlet, single outlet control volume is:

0=Qcv-Wcv+mh1-h2+V12-V222+gz1-z2

The net work output of the turbine is:

Wcv=Wc+WEG=900 kW+1400 kW=2300 kW

Referring to the property tables for air as an ideal gas, h1=h800 K=821.95 kJ/kg, and h2=h380 K=380.77 kJ/kg
Neglecting kinetic and potential energy effects, the heat transfer into the control volume is:

Qcv=Wcv+mh2-h1=2300 kW+5.66kgs380.77kJkg-821.95kJkg1 kW1 kJ/s

Qout=-197.1 kW

The negative sign for heat transfer signifies energy transfer from the turbine to the surroundings.